## Slide 1
Model Evaluation
& Validation
In Medical Image Analysis
SPRINT AI Training for African Medical Imaging
Knowledge Translation (SPARK) Academy
Key references
Metrics Reloaded
Maier-Hein et al., 2024
Segmentation Loss Odyssey
Ma et al., 2020
2404.12948 – Evaluation
Frameworks (2024)
Session facilitated with SPARK Academy

## Slide 2
Is it Validation
or Evaluation?
And why does the difference matter for African medical imaging AI?
(Think about this before we define anything)

## Slide 3
The Core Distinction
VALIDATION
Are we measuring the right thing?
Does the chosen metric reflect the clinical or scientific need?
Will a high score on this metric mean the model is actually useful?
Asks: is the proxy measure the right proxy?
EVALUATION
How do we measure it correctly?
The experimental protocol: splits, cross-validation, held-out sets
Statistical aggregation across patients, slices, institutions
Asks: are we applying the metric correctly?

## Slide 4
Why This Matters — The Metrics Reloaded Argument
Flaws in ML algorithm validation are an underestimated global problem.
Wrong problem category
Object detection problems treated as segmentation — wrong metric family applied from the start
Poor metric selection
Mathematical properties ignored — e.g., Dice on tiny structures gives meaningless numbers
Poor metric application
Ignoring hierarchical data structure (multi-site, multi-patient) when aggregating scores
Source: Metrics Reloaded — Maier-Hein et al., Nature Methods, 2024

## Slide 5
Part 1: What Are We Even Measuring?
The Problem Fingerprint Framework

## Slide 6
The Problem Fingerprint — Diagnosis Before Prescription
Before choosing any metric, you must characterize your problem:
Domain interest
What does a clinician actually care about? Lesion count? Margin accuracy? Volume?
Target structure
Is the structure large or small? One or many instances? Clear or fuzzy borders?
Dataset properties
Class imbalance? Multi-site? Variable number of images per patient?
Algorithm output
Probability map? Binary mask? Bounding box? Instance labels?
The fingerprint is the input to metric selection — not an afterthought.

## Slide 7
Task Taxonomy — Match Your Task to Your Metric Family
Image-level
Classification
Pathology present?
CXR: TB or not?
Object
Detection
Where are the lesions?
How many?
Semantic
Segmentation
Which pixels are tumor?
(per-pixel class)
Instance
Segmentation
Separate each
individual lesion
Common mistake: framing a detection problem as segmentation — then wondering why the model "misses" objects it didn't localize.
Metrics Reloaded covers all four task types with a structured decision framework.

## Slide 8
Part 2: The Metrics Landscape
Region, Boundary, and Beyond

## Slide 9
The Dice Problem — Ubiquitous but Routinely Misused
Dice = 2|G ∩ S| / (|G| + |S|)
Inflated on large structures
A model that predicts the whole brain as 'tumor' can still score high Dice on a large tumor — size matters enormously
Unreliable on small structures
A single voxel error on a 10-voxel lesion drops Dice by 18%. The metric becomes noisy and unstable at small scale
Boundary-blind
Dice measures region overlap — it tells you nothing about contour accuracy. A model can look smooth on Dice and have rough jagged edges
Aggregation matters enormously
Patient-level vs slice-level vs voxel-level Dice are three different numbers. You must specify which you report

## Slide 10
Beyond Dice — Boundary & Surface Metrics
When boundary accuracy matters (radiotherapy planning, surgical margins), surface metrics are essential:
Hausdorff Distance (HD)
max distance from any point on ∂G to nearest point on ∂S
⚠ Sensitive to outliers — one bad voxel dominates
HD95 (95th percentile HD)
95th percentile of surface distances — ignores worst 5%
✓ More robust; now the preferred standard
Average Surface Distance (ASD)
mean of all point-to-surface distances across both boundaries
✓ Smooth average; good for overall boundary quality
Normalized Surface Distance (NSD)
fraction of surface within tolerance τ of the other surface
✓ Clinically interpretable — maps to acceptable margin

## Slide 11
Loss ≠ Metric — Two Separate Decisions
What you train with and what you test with are separate choices — and they should be.
LOSS FUNCTIONS (training)
Distribution-based
Cross-entropy, Focal, TopK, DPCE
Region-based
Dice, IoU, Tversky, Generalized Dice
Boundary-based
Boundary Loss, HD Loss
Compound
Dice + CE, Exponential Log Loss
Segmentation Loss Odyssey (Ma, 2020)
github.com/JunMa11/SegLoss
EVAL METRICS (testing)
Region overlap
Dice, IoU, Precision, Recall
Boundary accuracy
HD, HD95, ASD, NSD
Classification
AUC, F1, accuracy, calibration
Detection
AP, mAP, panoptic quality
The metric should reflect the domain interest,
not just match the loss function.

## Slide 12
Part 3: Evaluation Protocol
Doing the Measurement Right

## Slide 13
Common Evaluation Protocol Pitfalls
Data leakage
Normalizing or augmenting on the full dataset before splitting — your test set has seen the training distribution
Optimistic test set
Hyperparameter tuning on the held-out test set. It should be truly untouched until final reporting
Wrong aggregation
Averaging Dice across all slices instead of per patient — inflates scores for patients with many slices
No confidence intervals
A single number without error bars tells you nothing about reliability. Use bootstrap or cross-validation CIs
Single-dataset evaluation
One dataset, one institution. Especially dangerous — models can memorize scanner artifacts, not anatomy
Class-imbalanced mean
Reporting mean Dice across all classes when one class has 10x more pixels than another — weighted mean is more honest

## Slide 14
The African Context — Distribution Shift is Not Optional
Models trained on Western datasets and evaluated with Dice alone may look excellent on paper — and fail on African patient populations.
Scanner heterogeneity: Low-field MRI, older CT hardware, different protocols — distribution shift is real and underreported
Disease prevalence differences: TB, malaria, sickle cell comorbidities — models may have never seen these phenotypes
Annotation scarcity: Fewer labeled African medical imaging datasets means less external validation data exists
What to do: Always evaluate on data from your target population. Report performance disaggregated by site, scanner, and demographics when possible

## Slide 15
Part 4: Tools & Frameworks
Putting Good Practice Into Code

## Slide 16
Recommended Tools & Libraries
MONAI
monai.metrics — Dice, HD, ASD, confusion matrix, all GPU-friendly. The medical imaging standard.
monai.io
surface-distance
DeepMind's surface distance library — HD, HD95, ASD, NSD. Simple and reliable.
github.com/google-deepmind/surface-distance
Kornia
kornia.metrics — Image-level metrics, useful for classification and detection tasks.
kornia.org
Metrics Reloaded
Interactive online tool — input your problem fingerprint, get metric recommendations.
metrics-reloaded.eu
medpy.metric
Classic Python library — Dice, HD, Ravd. Older but battle-tested for quick scripts.
github.com/loli/medpy
scikit-learn
Classification metrics, calibration curves, ROC/AUC — the general ML baseline.
scikit-learn.org

## Slide 17
Key Frameworks & Reading
Metrics Reloaded
Maier-Hein et al., Nature Methods, 2024
The most comprehensive metric selection framework. Covers all task types. Includes an interactive online tool at metrics-reloaded.eu
arxiv.org/abs/2206.01653
Segmentation Loss Odyssey
Ma, MICCAI Workshop, 2020
Taxonomy of segmentation loss functions. Covers distribution, region, boundary, and compound losses with PyTorch implementations.
arxiv.org/abs/2005.13449
Common Pitfalls in Eval
arxiv 2404.12948, 2024
Practical guide to evaluation pitfalls in medical image analysis. Complements Metrics Reloaded with protocol-level guidance.
arxiv.org/abs/2404.12948

## Slide 18
Key Takeaways
1
Validation asks: are you measuring the right thing? Evaluation asks: are you measuring it correctly?
2
Use the Problem Fingerprint before choosing any metric — domain interest, structure, dataset, output type.
3
Dice is useful but dangerous on small structures, boundary-critical tasks, and without careful aggregation.
4
Your loss function and your evaluation metric are separate choices — don't conflate them.
5
Surface metrics (HD95, ASD, NSD) are essential for boundary-sensitive clinical applications.

## Slide 19
SPARK Academy
Questions & Discussion
Metrics Reloaded online tool metrics-reloaded.eu
MONAI monai.io | SegLoss github.com/JunMa11/SegLoss
Good science begins with honest measurement.